## Slide 1: Agenda Item 6: DFC Comparison Updated Calibration of Alternative GAM Updated GAM Simulations Draft Explanatory Reports and Non-Relevant Documentation
Bill Hutchison
GMA 3 and 7 Joint Meeting
April 23, 2026

## Slide 2: Topics
DFC Comparison
Updated Calibration of Alternative GAM
Updated GAM Simulations
Draft Explanatory Report and Non-Relevant Documentation

## Slide 3: Topics
DFC Comparison
Updated Calibration of Alternative GAM
Updated GAM Simulations
Draft Explanatory Report and Non-Relevant Documentation

## Slide 4: DFC Comparison (GMA 3)
Complete
  GMA 3 Technical Memorandum 25-01 (Draft - September 5, 2025)
  Presented results at GMA 3 meeting on October 22, 2025
Summary of Findings:
  Capitan Reef Complex Aquifer
    Recommended classification as not relevant for purposes of joint planning
  Dockum Aquifer
    Recommended classification as not relevant for purposes of joint planning
  Edwards-Trinity (Plateau) and Pecos Valley Aquifers
    Recommended update to Alternative GAM calibration (Pecos and Reeves counties)
  Rustler Aquifer
    Recommended classification as not relevant for purposes of joint planning

## Slide 5: GMA 3 DFC Comparison

## Slide 6: DFC Comparison (Phase 1 - GMA 7) (1)
Presented at GMA 7 meeting of August 14, 2025
Summary of Findings
  Capitan Reef Complex Aquifer
    Recommended classification as not relevant for purposes of joint planning
  Edwards-Trinity (Plateau), Pecos Valley, and Trinity Aquifers
    Recommended Phase 2 (GCD data and interpolated baselines)
    Recommended update of Alternative GAM
    Recommended update of MAG approach for Kinney County
    Recommended classification of Val Verde County as not relevant for purposes of joint planning

## Slide 7: DFC Comparison (Phase 1 - GMA 7) (2)
Presented at GMA 7 meeting of August 14, 2025
Summary of Findings
  High Plains Aquifer System (Dockum and Ogallala Aquifers)
    Recommended classification as not relevant for purposes of joint planning
  Llano Uplift Aquifers
    Marble Falls Aquifer: recommended keeping classification as not relevant for purposes of joint planning
    Ellenburger-San Saba and Hickory Aquifers: recommended Phase 2 (GCD data and interpolated baselines)
  Rustler Aquifer
    Recommended classification as not relevant for purposes of joint planning

## Slide 8: DFC Comparison (Phase 2 – GMA 7)
Complete
  GMA 7 Technical Memorandum 26-01 (Draft – April 16, 2026)
Initial work presented at GMA 7 meeting of November 6, 2025
  Updated with GCD data (Irion and Sterling counties)
Work on Edwards-Trinity (Plateau), Pecos Valley, and Trinity Aquifers complete
  Updated with GCD data (Irion and Sterling counties – 11/6/2025 GMA 7 meeting)
  Updated with baseline interpolations (TWDB data) – 3/18/2026 GMA 7 meeting
Work on Llano Uplift (Hickory) complete
  Updated with baseline interpolations (TWDB data)
  No additional data from Hickory Aquifer available (City of San Angelo)

## Slide 9
Drawdown Comparison:
Edwards-Trinity (Plateau), Pecos Valley, Trinity Aquifers

## Slide 13: Topics
DFC Comparison
Updated Calibration of Alternative GAM
Updated GAM Simulations
Draft Explanatory Report and Non-Relevant Documentation

## Slide 14: Updated Calibration of Alternative GAM (GMA 3 and GMA 7)
Complete
  Documentation Report (April 16, 2026)

## Slide 15: Topics
DFC Comparison
Updated Calibration of Alternative GAM
Updated GAM Simulations
Draft Explanatory Report and Non-Relevant Documentation

## Slide 16: Updated GAM Simulations (Llano Uplift GAM - GMA 7)
Based on input received in 2016
  Essentially no increase in pumping from calibration period
Scenario 26.1 completed
  TM 26-02 – April 17, 2026
Same input pumping as past rounds of joint planning
  Simulation extended to 2080

## Slide 17: Past Pumping and Current MAG (Previously Presented at Meeting of March 18, 2026)
Ellenburger-San Saba Aquifer
Hickory Aquifer

## Slide 18: Scenario 26.1 Llano Uplift GAM Pumping
Ellenburger-San Saba Aquifer
Hickory Aquifer

## Slide 19: Scenario 26.1 Llano Uplift GAM Average Drawdown
Ellenburger-San Saba Aquifer
Hickory Aquifer

## Slide 20: Updated GAM Simulations (ETP - GMA 3 and GMA 7)
Updated Alternative GAM (Edwards-Trinity (Plateau), Pecos Valley, and Trinity Aquifers)
Three “initial” scenarios
  Scenario 26.1 (same pumping as last round of joint planning)
  Scenario 26.2 (Schleicher County pumping = 15,640 AF/yr)
  Scenario 26.3 (Schleicher County pumping = 17,254 AF/yr)
Set up to run more scenarios today

## Slide 21
Edwards-Trinity (Plateau) and Pecos Valley Aquifers –
All Counties (GMA 3)
Previously Presented at Meeting of March 18, 2026

## Slide 22
Edwards-Trinity (Plateau), Pecos Valley, and Trinity Aquifers –
Relevant Counties (GMA 7)
Previously Presented at Meeting of March 18, 2026

## Slide 23: GMA 3 Results Tech Memo 26-01 (April 18, 2026)
Pumping
Average Drawdown

## Slide 24: GMA 7 Results Tech Memo 26-03 (April 18, 2026)
Note: Decadal Average Drawdown included in TM 26-03 (HB 2078 Requirement)
Pumping
Average Drawdown

## Slide 25: Topics
DFC Comparison
Updated Calibration of Alternative GAM
Updated GAM Simulations
Draft Explanatory Report and Non-Relevant Documentation

## Slide 26: Draft Explanatory Reports
GMA 3
  Edwards-Trinity (Plateau) and Pecos Valley Aquifers
GMA 7
  Edwards-Trinity (Plateau), Pecos Valley, and Trinity Aquifers
  Llano Uplift Aquifers
To be completed once a proposed DFC is adopted
  Statute does not require them until end of process
  To be completed by end of June

## Slide 27: Non-Relevant Documentation – GMA 3
Existing documentation for:
  Igneous Aquifer
  Ogallala Aquifer
New documentation for:
  Capitan Reef Complex Aquifer
  Dockum Aquifer
  Rustler Aquifer
To be completed by end of June

## Slide 28: Non-Relevant Documentation – GMA 7
Existing documentation for:
  Blaine Aquifer
  Cross Timbers Aquifer
  Igneous Aquifer
  Lipan Aquifer
  Seymour Aquifer
New documentation for:
  Capitan Reef Complex Aquifer
  Dockum Aquifer
  Ogallala Aquifer
  Rustler Aquifer
To be completed by end of June

## Slide 29: Workplan/Schedule/Budget
GMA 3 Budget and Invoice
GMA 7 Budget and Invoice

## Slide 30: Current Budget Progress (GMA 3)

## Slide 31: Current Budget Progress (GMA 7)

## Slide 32: Questions/Discussion Bill Hutchison billhutch@texasgw.com